Reserve Studies and Funds

A Reserve Study is the art and science of anticipating and preparing for the repair and/or replacement or major assets. Partially art, because projections are made about the future and partially science, because projections are based on research and analysis within defined methodologies. A Reserve Study is typically performed by specialists in the field and consists of two parts: the Physical Analysis and the Financial Analysis. The Physical Analysis includes information about the current condition of the association’s major assets and the cost to repair or replace those assets. The Financial Analysis evaluates the association's Reserve Fund balance and its’ ability to cover anticipated repairs or replacements. Theoretically speaking, a Reserve Study helps the Association keep the physical and financial assets in balance. Practically speaking, a Reserve Study is a budget-planning document, which provides a list major assets, the status of the Reserve Fund, and the recommended funding plan. The Plan’s objective is to collect funds at a stable rate to offset the predicted future major expenses.

What assets are covered by Reserve Funds?

Expenses charged to the Reserve are the larger, infrequent expenses that require significant advance planning compared to operating expenses, which occur on a daily, weekly, or monthly basis. To determine which items should be funded through Reserves, management determines whether 1) an asset is the association’s responsibility, 2) the asset has a limited but predictable “Useful Life”, 3) the cost to replace the asset is above a predetermined minimum.

How are the Useful Life and Remaining Useful Life established?

An asset’s Useful Life is typically established through past experience with similar assets, adjusted by assumptions for quality, rate of wear, and weather exposure. Remaining Useful Life is established by evaluating an asset’s current condition, which may decrease or increase based on usage. Assets requiring a particular expertise or when age characteristics are not visible (elevators, irrigations systems, pumps, etc.), service vendors are consulted to obtain recommendations on useful life.

How are Cost Estimates Established?

The best way to accurately estimate repair or replacement costs for major assets is to check on actual costs for similar items. In absence of "actual" costs, local vendors are contacted to provide insights into current pricing trends. For components that require a particular expertise (roof, HVAC, etc.), vendors are again interviewed or industry guidebooks consulted.  Inflation is also taken into consideration.

How much Reserves are enough?

The typical measure of whether Reserve Funds are adequate is by identifying the  “Percent Funded”, which is the current Reserve Fund Balance divided by the association's calculated Fully Funded Balance. Fully Funded Balance essentially means that 100% of the replacement cost of all major assets is available in the Reserve Fund. Measuring Reserves by Percent Funded tells how well prepared an association is for upcoming Reserve expenses. While the 100% point is ideal, Reserve Funds above the 70% level are considered "strong" because cash flow problems are rare. Reserve Funds in the 30% to 70% range are usually considered adequate while, those funded below 30% are considered weak.

How much should we contribute?

There are several issues to consider when developing a Reserve Funding Plan. The primary issue is determining the objective of the plan. Generally speaking, our objective is to provide sufficient cash to perform Reserve projects on time.   Based on the study, the Board typically looks to develop a plan that provides stable contributions to the Reserve Fund. This will ensure each owner pays a fair share of the deterioration in of the Association’s assets, proportionate to the amount of time they are owners.  While this is a brief summary of a fairly complex subject, I hope that it provides a basic understanding of a key issue facing the association as it approaches transition.

Rob McDaniel

Centurion Condominium Management  Specialists